## Result sheet
Method name: Yuhang_diya2 (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 2008000886
Firmware: |  |  |  | ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦PODI:V1.11.2
Date: |  |  |  | 2026-02-03
Time: |  |  |  | 13:15
System |  |  |  | DESKTOP-68UO60I
User |  |  |  | DESKTOP-68UO60I\hslab
Plate |  |  |  | [COS96ft] - Costar 96 Flat Transparent Cat. No.: 3361/3590/9018/3591/9017/3641/3628/3370/2507/2509/2503/9017/9018/3641/3598/3599/3585/3595/3300/3474
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Shaking
| Absorbance |  |  |  |  | OD600
| Fluorescence Top Reading |  |  |  |  | GFP 395nm
| Fluorescence Top Reading |  |  |  |  | GFP 480nm
Name |  |  |  | COS96ft
Plate layout
Plate area |  |  |  | A1-H12
Start Time |  |  |  | 2026-02-03 13:11:25
Shaking (Orbital) Duration [s] |  |  |  | 10
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude [mm] |  |  |  | 1
Shaking (Orbital) Frequency [rpm] |  |  |  | 510
End Time |  |  |  | 2026-02-03 13:11:35
Mode | Absorbance
Name | OD600
Measurement wavelength [nm] |  |  |  | 600
Number of flashes |  |  |  | 25
Settle time [ms] |  |  |  | 50
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2026-02-03 13:11:35
Temperature [°C] |  |  |  | 24.6
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.1157 | 0.116 | 0.1124 | 0.1135 | 0.1154 | 0.1147 | 0.1146 | 0.1136 | 0.1126 | 0.1127 | 0.1104 | 0.112
B | 0.1175 | 0.1136 | 0.116 | 0.1165 | 0.116 | 0.1135 | 0.1171 | 0.1141 | 0.1157 | 0.1101 | 0.1121 | 0.1188
C | 0.12 | 0.1187 | 0.1154 | 0.1141 | 0.1136 | 0.1149 | 0.115 | 0.112 | 0.1094 | 0.1102 | 0.1276 | 0.1128
D | 0.1134 | 0.1165 | 0.1133 | 0.1176 | 0.1143 | 0.1122 | 0.12 | 0.1112 | 0.1165 | 0.1111 | 0.1115 | 0.1122
E | 0.1155 | 0.1113 | 0.1129 | 0.1134 | 0.1154 | 0.1171 | 0.1157 | 0.1159 | 0.1132 | 0.1178 | 0.1119 | 0.1129
F | 0.1152 | 0.1138 | 0.1139 | 0.1173 | 0.1129 | 0.1224 | 0.1197 | 0.112 | 0.1121 | 0.1109 | 0.1098 | 0.1128
G | 0.1123 | 0.1134 | 0.1174 | 0.1145 | 0.1125 | 0.113 | 0.1124 | 0.1124 | 0.1114 | 0.1104 | 0.1117 | 0.1108
H | 0.1118 | 0.1157 | 0.121 | 0.1244 | 0.1119 | 0.1126 | 0.1162 | 0.1122 | 0.1124 | 0.104 | 0.1031 | 0.1036
End Time |  |  |  | 2026-02-03 13:12:03
Mode | Fluorescence Top Reading
Name | GFP 395nm
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 395
Excitation bandwidth [nm] |  |  |  | 20
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 508
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 70
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 25
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 50
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2026-02-03 13:12:05
Temperature [°C] |  |  |  | 24.7
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4955 | 5163 | 5282 | 5126 | 5464 | 5286 | 5315 | 5288 | 5349 | 5873 | 5848 | 5929
B | 4986 | 5109 | 5292 | 5227 | 5241 | 5134 | 5162 | 5218 | 5354 | 5815 | 5723 | 5748
C | 4840 | 5059 | 5369 | 5121 | 5310 | 5233 | 5134 | 5258 | 5421 | 5947 | 5734 | 6000
D | 4909 | 5060 | 5317 | 5036 | 5303 | 5101 | 5174 | 5159 | 5225 | 565 | 535 | 535
E | 4915 | 5092 | 5197 | 5057 | 5172 | 5102 | 5157 | 4950 | 5320 | 551 | 521 | 515
F | 4879 | 4923 | 5150 | 4954 | 5155 | 5118 | 5181 | 5121 | 5348 | 583 | 541 | 518
G | 4784 | 5059 | 5101 | 4986 | 5147 | 5172 | 5103 | 5077 | 5383 | 613 | 569 | 524
H | 5039 | 5109 | 5154 | 5056 | 5215 | 5211 | 5137 | 5179 | 5380 | 5462 | 5694 | 5829
End Time |  |  |  | 2026-02-03 13:13:12
Mode | Fluorescence Top Reading
Name | GFP 480nm
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 480
Excitation bandwidth [nm] |  |  |  | 20
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 520
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 30
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 25
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 50
Z-Position [μm] |  |  |  | 17505
Z-Position mode A1 |  |  |  | From well
Part of Plate |  |  |  | A1-H12
Start Time |  |  |  | 2026-02-03 13:13:17
Temperature [°C] |  |  |  | 24.7
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 26 | 27 | 28 | 28 | 28 | 28 | 27 | 28 | 28 | 10 | 10 | 10
B | 27 | 28 | 28 | 28 | 28 | 28 | 27 | 28 | 28 | 10 | 10 | 9
C | 26 | 27 | 28 | 28 | 28 | 29 | 28 | 29 | 28 | 10 | 10 | 10
D | 27 | 27 | 28 | 28 | 28 | 28 | 28 | 29 | 29 | 1 | 1 | 1
E | 27 | 28 | 28 | 27 | 28 | 28 | 28 | 27 | 28 | 1 | 1 | 1
F | 27 | 27 | 27 | 27 | 28 | 28 | 27 | 27 | 28 | 1 | 1 | 1
G | 27 | 27 | 27 | 27 | 28 | 28 | 28 | 28 | 28 | 1 | 1 | 1
H | 28 | 27 | 26 | 27 | 28 | 27 | 28 | 28 | 29 | 9 | 9 | 9
End Time |  |  |  | 2026-02-03 13:15:01